MEDICAL EQUIPMENT DETAILED SPECIFICATION

Specification No. 29

| Priority | 2 | Floor | GF | Quantity | 1EA |
| --- | --- | --- | --- | --- | --- |
| Equipment Name |  | Tube Roller | Installation Location | Clinical Pathology Laboratory |  |
| Specification Level |  | Low | Remarks |  |  |
| - General Specification |  | The following items are basic requirements; equivalent or higher specifications with similar functionality are also acceptable. |  |  |  |
| - Scope and Intended Use |  |  |  |  |  |
| - The tube roller shall be used in the laboratory for gentle mixing of blood samples, reagents, and other liquid specimens contained in tubes or bottles. - The system shall provide continuous and uniform rolling motion without causing hemolysis or sample damage. - Equivalent or higher performance systems are acceptable. Vendor-neutral and performance-based specifications shall apply. |  |  |  |  |  |
| - General Requirements [MUST] |  |  |  |  |  |
| - Bench-top laboratory tube roller mixer - Continuous rolling motion - Quiet and vibration-free operation - Compact design suitable for laboratory bench - Easy-to-clean chemical-resistant housing - The equipment shall be brand new, unused, and currently in production at the time of bid submission. Refurbished or discontinued models shall not be accepted. |  |  |  |  |  |
| - Mixing Performance [MUST] |  |  |  |  |  |
| - Rolling speed adjustable - Speed range suitable for gentle mixing of blood and reagents - Uniform rotation across all rollers - Continuous operation capability |  |  |  |  |  |
| - Roller Configuration [MUST] |  |  |  |  |  |
| - Minimum 5 roller bars - Rollers suitable for standard laboratory tubes and bottles - Non-slip roller surface - Roller spacing optimized to prevent tube slippage |  |  |  |  |  |
| - Control Interface [MUST] |  |  |  |  |  |
| - Simple speed control knob or digital control - Power ON/OFF switch - Clear speed indication (analog or digital) |  |  |  |  |  |
| - Power Requirements [MUST] |  |  |  |  |  |
| - AC power 100–240 V, 50/60 Hz - Low power consumption suitable for continuous use |  |  |  |  |  |
| - Accessories & Configuration [MUST] |  |  |  |  |  |
| - Each unit shall include: - Tube roller main unit – 1 - Roller bars – integrated - Power cable – 1 - User manual – 1 All components required for immediate laboratory use must be included. |  |  |  |  |  |
| - Optional Items (price separately) |  |  |  |  |  |
| - Additional roller modules - Protective cover |  |  |  |  |  |
| - Installation & Commissioning [MUST] |  |  |  |  |  |
| - Delivery and basic setup on laboratory bench - Functional test prior to handover |  |  |  |  |  |
| - Warranty & After-Sales Service [MUST] |  |  |  |  |  |
| - Minimum 2-year warranty - Covers mechanical and electrical parts - Spare parts availability ≥ 5 years |  |  |  |  |  |
| - Compliance & Certification [MUST] |  |  |  |  |  |
| - CE or equivalent laboratory equipment approval - Manufacturer shall be ISO 13485 or ISO 9001 certified. |  |  |  |  |  |

/End/